GLOBE LED BULBS

ITEM NO: VT-1893; WATTS: 10W

| Item No: | VT-1893 |
| --- | --- |
| SKU Codes | 4278:6000K |
| Type | G95 |
| Base | E27 |
| Real Watts | 10W |
| EQ Watts | 40W |
| Voltage | 100-240V |
| Input Frequency | 50/60Hz |
| Input Efficiency | 81lm/w |
| Lumen(lm) | 810lm |
| PF | >0.5 |
| CRI | >80 |
| Color Temperature | 3000K,4500K,6000K |
| Beam Angle | 200’D |
| LED Chip | SMD |
| Driver | Constant current non-isolated driver |
| Protection Class | IP20 |
| Body Material | Thermal Plastic |
| Dimmable | No |
| Unit Size | D:95mmx133mm |
| Life Time | 20000hrs |
| Operation Temperature | -25 ~50’C |
| Applicable Environment | Indoor Lighting, Used in Home down light, Stairwell lighting. |