**GLOBE LED BULBS**

**ITEM NO: VT-1893; WATTS: 10W**

|  |  |
| --- | --- |
| Item No: | VT-1893 |
| SKU Codes | **4278:6000K** |
| Type | **G95** |
| Base | **E27** |
| Real Watts | **10W** |
| EQ Watts | **40W** |
| Voltage | **100-240V** |
| Input Frequency | **50/60Hz** |
| Input Efficiency | **81lm/w** |
| Lumen(lm) | **810lm** |
| PF | **>0.5** |
| CRI | **>80** |
| Color Temperature | **3000K,4500K,6000K** |
| Beam Angle | **200’D** |
| LED Chip | **SMD** |
| Driver | **Constant current non-isolated driver** |
| Protection Class | **IP20** |
| Body Material | **Thermal Plastic** |
| Dimmable | **No** |
| Unit Size | **D:95mmx133mm** |
| Life Time | **20000hrs** |
| Operation Temperature | **-25 ~50’C** |
| Applicable Environment | **Indoor Lighting, Used in Home down light, Stairwell lighting.** |

